## Sheet1
Aeration Vol |  |  |  |  | 2004-12-15 08:04
Clarifier Vol |  | Enter Data |  |  | Developed By; Tim Shudt
Version 1.2
Influent Flow
| Ras Flow |  | Other | Waste Flow
Wastewater
Formulas

## weir
Flow In Gallons/Day
Enter Know Data
Feet of Weir
Gals/Ft of Weir
Weir Overflow Rate

## Det Time
Vol of tank in Gallons
Enter Known Data
Flow In Gallons
Detention Time In Hours
Detention Time

## Ras SVI
SVI | #VALUE!
MLSS | #VALUE! | Enter Known Data
INF Fow
Ras Conc
Ras Flow MGD
Ras Flow Gals
Ras Flow GPM
Return Sludge Rate By SVI

## Ras Settleability
b
30min | Sv,ml/l | Enter Known Data | 1000
Inf flow MGD
Ras %
Ras Flow MGD
Ras Flow Gals
Ras Flow GPM
Return Sludge Rate By Settleability

## Constant MLSS
0
Desired MLSS |  | 0
Actual MLSS |  | 0
Aeration Vol | 0 |  | Enter Known Data
Ras/Was Conc
Gals to waste, MGD
Gals to waste
GPM to waste
Constant MLSS

## Constant Fm
Ras/Was conc
| MLSS |  | 0
| Inf BOD |  | #DIV/0! | Enter Known Data
| Inf Flow | 0 | 0
| Aeration vol | 0 | 0
Desired FM
LBS Waste
MGD Waste
Gals Waste
GPM Waste
Constant F/M

## Help
On the main menu enter data in the approiate spaces. This will input data in all formulas where required.
If buttons do not work, be sure to enable macros when program opens
If program is open click on "Tools" on the top tool bar, then click on "Macros", then "Security"
Any question or comments can be e-mailed to shudt@nyruralwater.org

## Constant Sludge age
| MLSS |  |  | 0
| Inf Susp Sol |  |  | 0
| Ras/Was conc |  |  | 0
| Aeration vol | 0 | Enter Known Data | 0
| Inf Flow | 0
Desired Sludge age
LBS to Waste
MGD to Waste
Gals Waste
Gpm Waste
Constant Sludge Age

## Constant MCRT
Aeration Vol | 0 |  | 0
Clarifier Vol | 0 |  | 0
MLSS |  | Enter Known Data
Ras/Was conc
Desired MCRT |  |  | 0
MG to Waste
Gals to waste
0
GPM to Waste
Constant MCRT

## ChlorineFilaments
| Aeration Vol |  | 0
| Clarifier Vol |  | 0 |  |  | 0
| MLSS |  |  |  | Enter Known Data | 0
Desired CL2 Dose
( 3-5 lbs)
Lbs of CL2 needed/day |  |  |  | 0
Frequency Check
RAS Flow MGD | [5 empty] | 0
| Ras Conc |  |  |  | Enter Known data
Frequency
Chlorinating for Filaments

## Sheet2
30 minSSV
MLSS
SVI
| Inf flow |  | 0 | 0
| Inf SS |  |  | 0
MLSS
| Aeration vol |  | 0
Sludge Age Days
| Mlss Mg/l |  |  |  | #VALUE!
Aeration Vol MG |  |  |  |  | #VALUE!
Clarifier Vol MG
Inf flow MG |  |  |  |  | #VALUE!
Eff SS Mg/L |  |  |  |  | 0
Was/Ras conc Mg/l |  |  |  |  | #VALUE!
Was Flow MG
MCRT Days
Celsius to Fahrenheit
Temp Celsius
Temp Fahrenheit
Fahrenheit to Celsius
-32
Temp Fahrenheit
Temp Celsius
| Inf Flow MG |  | 0 | 0
| Inf BOD |  |  | 0
MLSS
| Aer Vol MG |  | 0
FM Ratio
|  | Rectangle |  |  |  |  | Circle
| Length |  |  |  |  | Radius
| Width |  |  |  |  | Height
Height
Area
Cubic FT
| Square FT |  |  |  |  | Gallons
Cubic FT
Gallons
----1000----- -----900----- -----800----- -----700----- -----600----- -----500----- -----400----- -----300----- -----200---- -----100----
SVI
Sludge Age
MCRT
Temperature Conversion
Food to Mass Ratio
Volumes